College of Micronesia – FSM

P.O. Box 159

Kolonia, Pohnpei

# Course Outline Cover Page

Refrigeration II						VEM 114

Course Title							Dept and number

Course Description: This course primarily covers operation principles, installation, preventive maintenance and repair of split type air conditioning systems.

Prepared by: Esteban, Bertoldo Jr. B			State: Pohnpei Campus

Hours/week	No. of weeks	Total Hours	Semester Credits

Lecture			3 	     16		       48			3

Laboratory			3	     16		       48			1

Total Semester Credits							4

Purpose of Course		Degree Requirements	______________________________

Degree Elective	______________________________

Advance Certificate	______________________________

Certificate		__________XX_________________

Apprentice		__________XX_________________

Remedial		______________________________

Other (Workshop)	______________________________

Pre-requisite Course(s): VEM113

_______________________________		______________________________

Signature, Chairman, Curriculum Committee	Date Approved by Committee

_______________________________		______________________________

Signature, President, COM-FSM			Date Approved by the President

General Objective:  This course is design to equip individual with operational skills in Air Conditioning and Refrigeration service to install, service and maintain, trouble shoot and repair split type air conditioning units.

Learning Outcomes:	Upon successful completion of this course students will be able to:

      - Select suitable installation site.

      - Install split type air conditioning unit.

      - Install system piping.

      - Connect electrical system of split type air conditioning unit.

      - Service and maintain split type air conditioning unit.

      - Troubleshoot split type air conditioning unit.

      - Recover and recycle refrigerant in split type air conditioning unit.

      - Repair and retrofit split type air conditioning unit.

      - Perform start up and commissioning.

Outline of Content:	This course contains:

- Selection of suitable installation site.

Installation site for equipment

Site for piping installation

Site for air distribution

Installation site for electric controls and wirings

- Install split type air conditioning unit.

Troubles related with the installation work.

Procedures of installation

Bringing in

Cautions for installation

Pipe holes

- Install system piping.

Refrigerant piping work

Allowable piping length and level difference

Actual piping length and equivalent piping length

Leak test

Evacuation

Refrigerant charge

- Connecting electrical system of split type air conditioning unit.

Wiring of split system air conditioner

Power supply wiring

Controls and protective devices

Thickness of electric wires

Procedures for grounding work

- Service and maintain split type air conditioning unit.

Mechanical components, controls and operating conditions

System lubrication

Refrigerant charge

Air distribution system

- Troubleshoot split type air conditioning unit.

Troubleshooting decision aid

Diagnoses by use of pressure gauge

Explanation of major troubles with the refrigeration cycle

Troubles and countermeasures

- Recover and recycle refrigerant in split type air conditioning unit.

Assessment of unit for refrigerant recovery/recycling

Steps in setting up recovery/recycling equipment

Procedures in refrigerant recovery/recycling

- Repair and retrofit split type air conditioning unit.

Evaluation of system condition

Retrofitting

Identification of refrigerant

Refrigerant cylinder and color codes

Safety precautions in handling refrigerant

- Perform start up and commissioning.

Inspection before test run

Test run

Measuring items

Standard operation data

Data measurement in the field

Learning Outcomes:		On completion of this course students will be able to:

Learning Outcome 1		Select suitable installation site.

Assessment Criteria		Select installation site for equipment

Provide piping installation plan

Maximize air distribution

Plot site for electric controls and wiring installation

Assessment Method		Direct observation

Short answer questions

Written test

Learning Outcome 2	Install indoor and outdoor unit.

Assessment Criteria		Identify troubles related with the installation work.

Explain the procedures of installation

Demonstrate bringing in of units

Discuss safety precautionary measures for installation

Make pipe holes

Assessment Method		Direct observation

Practical task

Short answer questions

Written test

Learning Outcome 3		Install system piping and refrigerant charging.

Assessment criteria   		Determine allowable piping length and level difference

Compute actual piping length and equivalent piping length

Connect refrigerant piping

Demonstrate leak testing

Evacuate air conditioning unit

Charge refrigerant in the system

Assessment Method		Direct observation

Practical task

Short answer questions

Written test

Learning Outcome 4	Connect electrical system of split type air conditioning unit.

Assessment criteria   		Lay-out wiring of split system air conditioner

Install power supply wiring

Install controls and protective devices

Determine the sizes of electric wires

Discuss the procedures for grounding work

Test run electrical system

Assessment Method		Direct observation

Practical task

Short answer questions

Written test

Learning Outcome 5	Service and maintain split type air conditioning unit.

Assessment criteria	Check mechanical components operating condition.

Perform system lubrication

Measure refrigerant charge

Clean air distribution system

Assessment Method		Direct observation

Practical task

Short answer questions

Written test

Learning Outcome 6	Troubleshoot split type air conditioning unit.

Assessment criteria   		Discuss troubleshooting decision aid

Diagnose system by use of pressure gauge

Explain major troubles with the refrigeration cycle

Determine unit troubles and countermeasures

Assessment Method		Direct observation

Practical task

Short answer questions

Written test

Learning Outcome 7	Recover and recycle refrigerant in split type air conditioning unit.

Assessment criteria   		Assess unit for refrigerant recovery/recycling

Demonstrate steps in setting up recovery/recycling equipment

Operate refrigerant recovery/recycling equipment.

Assessment Method		Direct observation

Practical task

Short answer questions

Written test

Learning Outcome 8	Repair and retrofit split type air conditioning unit/commercial    refrigeration unit and its accessories.

Assessment criteria   		Evaluate system condition

Explain retrofitting

Identify refrigerant

Recognize refrigerant cylinder and color codes

Practice safety precautions in handling refrigerant

Assessment Method		Direct observation

Practical task

Short answer questions

Written test

Learning Outcome 9		Perform start up and commissioning.

Assessment criteria   		Inspect before test run

Perform unit test run

Measure operating items

Prepare standard operation data

Conduct data measurement in the field

Assessment Method		Direct observation

Practical task

Short answer questions

Written test

Required Textbook: Althouse, A., Turnquist, C., & Bracciano, A., Modern Refrigeration and Air Conditioning, The Goodheart-Wilcox Co., Inc USA. Latest Edition

Required Course Materials:

- Instructor:

  - CAI classroom with whiteboard or chalkboard

  - Laboratory equipment with tools of the trade

  - Text, Teacher’s Resource Guide, workbook

  - Overhead projector, transparencies

- Student:

  - Text

  - Handouts provided by instructor

  - Ring binder

  - College ruled note sheet, pencil or pen

  - Scientific calculator

Reference Materials:

1.   John Tomczyk, Troubleshooting and Servicing Modern Air Conditioning and

Refrigeration Systems.

2.   Roger A. Fischer, Air Conditioning and Refrigeration Repair.

- David Tenenbaum, Arco Air Conditioning and Refrigeration Toolbox Manual

(Arco’s On-The-Job References Series)

4.   Richard Jazwin, Troubleshooting and Servicing HVAC&R Electrical System

5.   Antonio Mejias, Refrigeration License Examinations: A Complete Guide to

The Written and Practical Exams (Arco Professional Certification and

Licensing Examination Series)

Method of Instruction:

- Computer Aided Instruction

- Practical/Experimentation

- Lecture/Demonstration

- Trainee hands-on

Evaluation:

Final grade for this course will be based on meeting the course requirements at the following percentages rates:

90% - 100%	A – Superior

80% - 89%	B – Above Average

70% - 79%	C – Average

60%-69%	D – Below Average

0% - 59%	F – Failure

Attendance:

The COM-FSM attendance policy will apply.

Honesty:

The COM-FSM Honesty policy will apply.