College of Micronesia - FSM

P.O. Box 159

Kolonia, Pohnpei FM  96941

Course Outline Cover Page

Steel Framed Buildings					              Course Code:  VCT  210

Course Description:  This course is designed to provide students with a basic understanding of steel framed buildings and construction methods for application in Micronesia. This course of study will apply to a range of single occupancy residential dwellings and associated buildings.

Course Prepared by:  Jeff Steel						         State:  Pohnpei

Hours per Week       No. Of Weeks      Total Hours     Semester Credits

Lecture/Workshop	 	         3              x           16             =        48         =  	       3

Purpose of Course:	            Degree Requirement…………….

Degree Elective……………..XX

Certificate ………………….	….

Apprenticeship ……………..	XX

Remedial………………………..

Other (workshop)……………XX

Prerequisite Course(s):   	VSP 153a 	Industrial Safety

.

Signature, Chairperson, Curriculum Committee		     Date Approved by Committee

______________________

Signature, President, COM-FSM			    	      Date Approved by President

COURSE TITLE			Steel Framed Buildings

Nominal Duration			36 Hours/3 Credits

General Objectives: 	This course is designed to provide students with a basic understanding of steel framed buildings and construction methods for application in Micronesia. This course of study will apply to a range of single occupancy residential dwellings and associated buildings.

## Prerequisites	VSP 153a Industrial Safety

Specific Objectives:  			By the completion of this course the student will be able to:

- Identify the components of a steel stud system.

2.  	Identify and select tools and fasteners used in a steel frame system.

3. 	Identify applications for steel frame systems.

4.	Explain and demonstrate how to construct and erect a steel house frame.

Delivery	Delivery methods must provide for the demonstration of competence in skills specified in all learning outcomes.

Assessment	More than one learning outcome may be assessed at once, by observing the learners ability to apply both specified skills and knowledge.

# Learning Outcome 1		Identify components of a steel frame system

VCT 210.1

Identify the various components and describe the different grades available in steel construction

Assessment Criteria                                      210.1.1		Recognize and observe Occupational Safety and

Health requirements.

    - Identify and describe the profiles of light

Steel frame sections and components.

    - Determine sections and quantities required from drawings and specifications.

    - Explain four (4) advantages of steel framing over timber framing.

All work practices must ensure that safe practices are adopted.

Conditions				Working in groups given:

- Resources/Industry Specifications

- Verbal and Video presentation to the group of learners

- Workplace visits to study recent and emerging trends that are current to the industry.

Assessment Method			Assessment may involve any of the following methods

- Oral questioning

- Written tests

- Computer managed testing

- Individual written assignments

- Active participation in group activity

Learning Outcome 2  		Tools and Fasteners

# VCT 210.2

Identify and select tools and fasteners used in a steel frame system.

Assessment Criteria			210.2.1 		Identify hand and power tools to be used for								framing with steel components.

    - Explain where and how the each tool is used.

    - Demonstrate safe use of tools when performing framing tasks.

    - Identify alternative fasteners and fastening techniques used in steel framing.

All work practices must ensure that safe practices are adopted.

Conditions				Working in groups given:

- Resources

- Verbal and Video presentation to the group of learners

- Workplace visits to study recent and emerging trends that are current to the industry.

Assessment Methods			Assessment may involve any of the following methods

- Oral questioning

- Written tests

- Computer managed testing

- Practical Assignment

- Active participation in group activity

# Learning Outcome 3	Steel Framing Applications

VCT 210.3

Identify applications for steel frame systems

Assessment Criteria	210.3.1	Explain the various applications of steel wall framing. Include:

- Framing walls

- Framing Wall Openings

- Bracing walls

- Radius Walls

- Furrings

- Joists and Roof Trusses

All work practices must ensure that safe practices are adopted.

Conditions				Working in groups given:

- Resources

- Verbal and Video presentation to the group of learners

- Workplace visits to study recent and emerging trends that are current to the industry.

Assessment Methods			Assessment may involve any of the following methods

- Oral questioning

- Written tests

- Computer managed testing

- Practical Projects

- Active participation in group activity

Learning Outcome 4			Construction Techniques

VCT 210.4

Explain and demonstrate how to construct and erect a steel house frame.

Assessment Criteria			210.4.1		List three (3) methods of assembling a steel frame:

- Welding.

- Screwing.

- Riveting.

210.4.2	Demonstrate three (3) methods of assembling a steel frame:

210.4.3	Explain how studs are installed in single lengths at spacing and positions determined by the building code.

    - Explain the installation of headers over openings.

    - Explain how walls are braced.

    - Explain how walls are erected, temporarily braced in location and fixed to base.

    - Describe how walls are set plumb, level, straight and square.

All work practices must ensure that safe practices are adopted.

Conditions				Working in groups given:

- Resources

- Verbal and video presentation to the group of learners

- Workplace visits to study recent and emerging trends that are current to the industry.

Assessment Methods			Assessment may involve any of the following methods

- Oral questioning

- Written tests

- Computer managed testing

- Practical project

- Active participation in group activity

#### Suggested Reference

# Materials

# Manufacturers manuals

- Level Three, Wheels of Learning, NCCER.  2000

Prentice-Hall, Inc Upper Saddle River, New Jersey.

- Audio-Visual:

Films:

- Framing in Steel, Steel Wall, Floor and Roof framing.

# RESOURCES

- Workshop Facilities

- Tools of Trade

- Steel components for Demonstration

- Video/TV Set

- Overhead Projector

GRADES

Final grades for this course will be assessed based on meeting the course requirements at the following percentage rates:

- 90% - 100%		A – Superior

- 80% - 89%		B – Above Average

- 70% -79%		C – Average

- 60% -69%		D – Below Average

- 0 – 59%			F – Failure

ATTENDANCE			The COM-FSM attendance policy will apply

# Text boxes

STUDENTS SHOULD BE MADE AWARE OF OCCUPATIONAL HEALTH AND SAFETY ISSUES IN ALL SITUATIONS AND BE EXPECTED TO DEMONSTRATE SAFE WORKING PRACTICES AT ALL TIMES.