College of Micronesia-FSM

P. O. Box 159

Kolonia, Pohnpei FM 96941

Course Outline Cover Page

Plumbing Installation and Design				Plum 100

Course Title					Department and Number

Course Description:

The course provides the student with the application of methods and theory in the installation and design of cold water supply, hot water supply, and drainage/vent systems.

Course Prepared by:     Randall Nelson  			State  COM-FSM main campus

Hours per Week	No. of Week	     Total Hours	         Semester Credits

Lecture		______3_______    x    ____16____    x   ___48/16___    =   _____3______

Laboratory 	______________    x    __________    x   __________     =   ____________

Workshop	______________    x    __________    x   __________     =   ____________

Total Semester	Credits	        _____3_____

Purpose of Course:	Degree Requirement	__________________

Degree Elective 	__________________

Certificate		__________________

Remedial Other	__________________

Prerequisite Course(s):	Admission to the Pohnpei State Apprenticeship Program

March 26, 1996

Date Approved by Committee

SUSAN MOSES					4/8/96

Signature, President, COM –FSM				Date Approved by President

PLUM 100

Pg. 2 of 2

3/96

COURSE OBJECTIVES

Genera/ objectives:

1. The student will be introduced to plumbing trade.

2. The student will be introduced to the various types of material used in the plumbing trade.

3. The student will be introduced to different installation and design methods for various water supply and drainage/vent system.

Specific Objectives:

1. The student will demonstrate the procedure for installation and design of potable water supply and drainage/vent system.

2.	The student will demonstrate how to install various plumbing fixtures.

3. The student will demonstrate how to inspect and test plumbing systems.

Textbooks and Materials:

Ripka, L.V. Plumbing Installation and Design, Homewood: Technical Publishers, Inc., 1987.

Hollar, Charles Plumbing Installation and Design Workbook, Homewood: American Technical Publishers Inc., 1987.

Reference Material:

None

Methods of Instruction:

Lecture, Group Discussion and Instructor Demonstration

Course Content:

Procedure for installation and designing of portable water supply and drain/vent systems. Methods of sizing pipe.

Theoretical fixture installation.

Methods of inspection and testing of plumbing systems.

Instructional Cost:

None

Evaluation:

Students will be evaluated on the achievement of each objective by written test.

Attendance:

- Established COM-FSM attendance policy applies.

Credit by Examination

None